## survey
type | name | label | hint | appearance | required | required_message | readonly | default | calculation | constraint | constraint_message | relevant | choice_filter | repeat_count | media::audio | media::image | bind::type | bind::esri:fieldType | bind::esri:fieldLength | bind::esri:fieldAlias | body::esri:style | bind::esri:parameters | parameters | body::esri:inputMask | label::language (xx) | hint::language (xx) | body::accuracyThreshold | bind::esri:warning | bind::esri:warning_message | bind::saveIncomplete
begin group | generalinfo | General Information
hidden | formdatasource | hilltop_integration | Note: Hidden field only required for integration with Hilltop databases.
select_one location_list | location | Site Name and Identifier | Note - Location Name and ID can either be in the same field or split out into separate fields. | autocomplete
geopoint | geopoint | Physical Location
dateTime | visitdatetime | Site Visit Date and Arrival Time | Note - Date and Time can either be in the same field or split out into separate fields. |  |  |  |  | now()
select_multiple staff_name_list | staffname | Staff Name(s) |  | minimal
select_one weather_list | weather | Weather |  | likert
select_one wind_list | wind | Wind (Beaufort Scale) |  | likert
select_multiple purpose_list | purpose | Visit Purpose
text | gen_comm | General Comments | Enter any general site related comments. | multiline
begin repeat | genphotos | General Photographs / Diagrams |  | compact
image | genphoto_1 | General Location Photographs
text | genphotocomm | Photograph Comment |  | multiline
image | genlocdiag | Location Diagram |  | annotate
end repeat
select_multiple visit_type_list | visittype | Site Visit Type(s) | [9 empty] | selected(${purpose}, 'purpose_sitevisit')
end group
begin group | sitevisitdata | Site Visit Data Type Collection | [9 empty] | selected(${purpose}, 'purpose_sitevisit')
begin group | rainfall | Rainfall Site Visit |  | compact | [7 empty] | selected(${visittype}, 'rf')
dateTime | raintimearr | Standard Time (NZST) | [5 empty] | now()
dateTime | raintimearrlog | Logger Time (NZST) | [5 empty] | now()
decimal | raininttot | Intensity Gauge Total (mm)
text | raininttotcomm | Intensity Gauge Reading Comment |  | multiline
image | rainphoto | Photograph of Rain Gauges | Take a photograph including both rain gauges.
begin repeat | rainaddphoto | Additional Photographs |  | compact
image | rainaddphoto_1 | Additional Photograph
text | rainaddphotocomm | Photograph Comment |  | multiline
end repeat
select_one yes_no_list | rainprgempt | Primary Reference Gauge Emptied
decimal | rainprgdip | Primary Reference Gauge Dip Value (mm) | [9 empty] | selected(${rainprgempt}, 'yes')
decimal | rainprgtot | Primary Reference Gauge Total (mm) | [9 empty] | selected(${rainprgempt}, 'yes')
text | rainprgtotcomm | Primary Ref Gauge Reading Comment |  | multiline | [7 empty] | selected(${rainprgempt}, 'yes')
note | raingaugevar | Gauge Variance | [9 empty] | selected(${rainprgempt}, 'yes')
calculate | rainerrormmcalc | Error (mm) | [6 empty] | round(${raininttot} - ${rainprgtot},2) |  |  | selected(${rainprgempt}, 'yes')
note | rainerrormm | Error (mm) = ${rainerrormmcalc} | Difference (mm) between primary reference gauge and intensity gauge. | [8 empty] | selected(${rainprgempt}, 'yes')
calculate | rainerrorperccalc | Error (%) | [6 empty] | round(((${raininttot} - ${rainprgtot}) div ${rainprgtot}) * 100,2) |  |  | selected(${rainprgempt}, 'yes')
note | rainerrorperc | Error (%) = ${rainerrorperccalc} | Difference (%) between primary reference gauge and intensity gauge. | [8 empty] | selected(${rainprgempt}, 'yes')
select_one yes_no_list | rainprgver | Primary Reference Gauge Verified | Gauge must have a steep, undamaged, level rim. No leaks or blockages.
select_one yes_no_list | rainintver | Intensity Gauge Verified | Gauge must have a undamaged, level rim. No leaks, blockages or bucket interference.
note | rainverinfo | For specific information related to verification of rain gauges, refer to NEMs Rainfall v2.1 - Sections 3.3.1 & 3.4.1.
select_one yes_no_list | rainbupgauge | Back up gauge(s) present?
select_one backup_gauge_list | rainbupgaugetype | Back-up Gauge Type | [9 empty] | ${rainbupgauge}='yes'
select_one yes_no_list | rainbupprgver | Back-up Reference Gauge Verified | [9 empty] | ${rainbupgaugetype}='rgtype_backup_ref' or ${rainbupgaugetype}='rgtype_backup_both'
select_one yes_no_list | rainbupintver | Back-up Intensity Gauge Verified | [9 empty] | ${rainbupgaugetype}='rgtype_backup_int' or ${rainbupgaugetype}='rgtype_backup_both'
decimal | rainbupreftot | Back-up Reference Gauge Total (mm) | [9 empty] | selected(${rainbupgaugetype}, 'rgtype_backup_ref') or selected(${rainbupgaugetype}, 'rgtype_backup_both')
text | rainbupreftotcomm | Back-up Ref Gauge Reading Comment |  | multiline | [7 empty] | selected(${rainbupgaugetype}, 'rgtype_backup_ref') or selected(${rainbupgaugetype}, 'rgtype_backup_both')
decimal | rainbupinttot | Back-up Intensity Gauge Total (mm) | [9 empty] | selected(${rainbupgaugetype}, 'rgtype_backup_int') or selected(${rainbupgaugetype}, 'rgtype_backup_both')
text | rainbupinttotcomm | Back-up Intensity Gauge Reading Comment |  | multiline | [7 empty] | selected(${rainbupgaugetype}, 'rgtype_backup_int') or selected(${rainbupgaugetype}, 'rgtype_backup_both')
note | rainbupgaugevar | Back-up Gauge Variance | [9 empty] | ${rainbupgauge}='yes'
calculate | rainbupreferrormmcalc | Back-up Ref Error (mm) | [6 empty] | round(${rainbupreftot} - ${rainprgtot},2) |  |  | ${rainbupgaugetype}='rgtype_backup_ref' or ${rainbupgaugetype}='rgtype_backup_both'
note | rainbupreferrormm | Back-up Ref Error (mm) = ${rainbupreferrormmcalc} | Difference (mm) between primary reference gauge and back-up reference gauge. | [8 empty] | ${rainbupgaugetype}='rgtype_backup_ref' or ${rainbupgaugetype}='rgtype_backup_both'
calculate | rainbupreferrorpercalc | Back-up Ref Error (%) | [6 empty] | round(((${rainbupreftot} - ${rainprgtot}) div ${rainprgtot}) * 100,2) |  |  | ${rainbupgaugetype}='rgtype_backup_ref' or ${rainbupgaugetype}='rgtype_backup_both'
note | rainbupreferrorper | Back up Ref Error (%) = ${rainbupreferrorpercalc} | Difference (%) between primary reference gauge and back-up reference gauge. | [8 empty] | ${rainbupgaugetype}='rgtype_backup_ref' or ${rainbupgaugetype}='rgtype_backup_both'
calculate | rainbupinterrormmcalc | Back-up Int Error (mm) | [6 empty] | round(${rainbupinttot} - ${rainprgtot},2) |  |  | ${rainbupgaugetype}='rgtype_backup_int' or ${rainbupgaugetype}='rgtype_backup_both'
note | rainbupinterrormm | Back-up Int Error (mm) = ${rainbupinterrormmcalc} | Difference (mm) between primary reference gauge and back-up intensity gauge. | [8 empty] | ${rainbupgaugetype}='rgtype_backup_int' or ${rainbupgaugetype}='rgtype_backup_both'
calculate | rainbupinterrorpercalc | Back-up Int Error (%) | [6 empty] | round(((${rainbupinttot} - ${rainprgtot}) div ${rainprgtot}) * 100,2) |  |  | ${rainbupgaugetype}='rgtype_backup_int' or ${rainbupgaugetype}='rgtype_backup_both'
note | rainbupinterrorper | Back-up Int Error (%) = ${rainbupinterrorpercalc} | Difference (%) between primary reference gauge and back-up intensity gauge. | [8 empty] | ${rainbupgaugetype}='rgtype_backup_int' or ${rainbupgaugetype}='rgtype_backup_both'
select_one yes_no_list | raingcleaned | Rain Gauge Cleaned
select_one yes_no_list | rainraintotreset | Total Count Reset in Data Logger
text | raincomment | Rain Gauge Inspection Comments |  | multiline
select_one yes_no_list | rainvaldone | Rain gauge validation being carried out
begin group | rainvalidation | Rainfall Validation | [9 empty] | ${rainvaldone}='yes'
note | rainvalmethod | Volumetric Validation Method
select_one bucket_vol_list | raintipbucketsize | Tipping Bucket Size
decimal | rainvalvol | Total Validation Volume (ml) | Volume of water used in field validation.
integer | rainvaltotaltips | Total Validation Tips | Number of tips counted/recorded during field validation.
text | rainvalcomment | Rain Gauge Validation Comments |  | multiline
calculate | rainvalresultmlcalc | Validation Result ml | [6 empty] | round(${rainvalvol} div ${rainvaltotaltips},2)
calculate | rainvalresultperc5calc | Validation Result percent 0.5mm | [6 empty] | round(((15.7-${rainvalresultmlcalc}) div 15.7)*100,2) |  |  | ${raintipbucketsize}='bucket_5'
calculate | rainvalresultperc2calc | Validation Result percent 0.2mm | [6 empty] | round(((6.28-${rainvalresultmlcalc}) div 6.28)*100,2) |  |  | ${raintipbucketsize}='bucket_2'
note | rainvalresultml | Validation Result (ml) = ${rainvalresultmlcalc}
note | rainvalresultperc5 | Validation Result (%) = ${rainvalresultperc5calc} | [9 empty] | ${raintipbucketsize}='bucket_5'
note | rainvalresultperc2 | Validation Result (%) = ${rainvalresultperc2calc} | [9 empty] | ${raintipbucketsize}='bucket_2'
note | rainvaloutcome | Validation Outcome:
note | rainvalpassmm5 | <font color = green> Validation Passed</font color> | [9 empty] | ${raintipbucketsize}='bucket_5' and ${rainvalresultmlcalc}>=14.915 and ${rainvalresultmlcalc}<=16.485
note | rainvalfailmm5 | <font color = red> Validation Failed</font color> | [9 empty] | ${raintipbucketsize}='bucket_5' and (${rainvalresultmlcalc}<=14.915 or ${rainvalresultmlcalc}>=16.485)
note | rainvalpassmm2 | <font color = green> Validation Passed</font color> | [9 empty] | ${raintipbucketsize}='bucket_2' and ${rainvalresultmlcalc}>=5.966 and ${rainvalresultmlcalc}<=6.594
note | rainvalfailmm2 | <font color = red> Validation Failed</font color> | [9 empty] | ${raintipbucketsize}='bucket_2' and (${rainvalresultmlcalc}<=5.966 or ${rainvalresultmlcalc}>=6.594)
select_one yes_no_list | rainvaltotreset | Total Count Reset in Data Logger
select_one yes_no_list | addrainvalreq | Additional Validation Required
begin repeat | addrainvalidation | Additional Rainfall Validation |  | compact | [7 empty] | ${addrainvalreq}='yes'
note | addrainvalmethod | Volumetric Validation Method
select_one bucket_vol_list | addraintipbucketsize | Tipping Bucket Size
decimal | addrainvalvol | Total Validation Volume (ml) | Volume of water used in field validation.
integer | addrainvaltotaltips | Total Validation Tips | Number of tips counted/recorded during field validation.
text | addrainvalcomm | Rain Gauge Validation Comments |  | multiline
calculate | addrainvalresultmlcalc | Validation Result ml | [6 empty] | round(${addrainvalvol} div ${addrainvaltotaltips},2)
calculate | addrainvalresultperc5calc | Validation Result percent 0.5mm | [6 empty] | round(((15.7-${addrainvalresultmlcalc}) div 15.7)*100,2) |  |  | ${addraintipbucketsize}='bucket_5' and ${addrainvalreq}='yes'
calculate | addrainvalresultperc2calc | Validation Result percent 0.2mm | [6 empty] | round(((6.28-${addrainvalresultmlcalc}) div 6.28)*100,2) |  |  | ${addraintipbucketsize}='bucket_2' and ${addrainvalreq}='yes'
note | addrainvalresultml | Validation Result (ml) = ${addrainvalresultmlcalc}
note | addrainvalresultperc5 | Validation Result (%) = ${addrainvalresultperc5calc} | [9 empty] | ${addraintipbucketsize}='bucket_5'
note | addrainvalresultperc2 | Validation Result (%) = ${addrainvalresultperc2calc} | [9 empty] | ${addraintipbucketsize}='bucket_2'
note | addrainvaloutcome | Validation Outcome:
note | addrainvalpassmm5 | <font color = green> Validation Passed</font color> | [9 empty] | ${addraintipbucketsize}='bucket_5' and ${addrainvalresultmlcalc}>=14.915 and ${addrainvalresultmlcalc}<=16.485
note | addrainvalfailmm5 | <font color = red> Validation Failed</font color> | [9 empty] | ${addraintipbucketsize}='bucket_5' and (${addrainvalresultmlcalc}<=14.915 or ${addrainvalresultmlcalc}>=16.485)
note | addrainvalpassmm2 | <font color = green> Validation Passed</font color> | [9 empty] | ${addraintipbucketsize}='bucket_2' and ${addrainvalresultmlcalc}>=5.966 and ${addrainvalresultmlcalc}<=6.594
note | addrainvalfailmm2 | <font color = red> Validation Failed</font color> | [9 empty] | ${addraintipbucketsize}='bucket_2' and (${addrainvalresultmlcalc}<=5.966 or ${addrainvalresultmlcalc}>=6.594)
select_one yes_no_list | addrainvaltotreset | Total Count Reset in Data Logger
end repeat
end group
end group
begin group | surfacewl | Surface Water Level Site Visit |  | compact | [7 empty] | selected(${visittype}, 'swl')
select_one swl_type_list | swl_type | Surface Water Level Site Type |  | minimal
note | swlpicinfo | Take relevant photographs of site (ie: control, upstream and downstream of site, ESG)
begin repeat | swlphotos | Surface Water Level Photographs
image | swlphoto | Photograph
text | swlphotocomm | Photograph Comment |  | multiline
end repeat
dateTime | swltime | Standard Time (NZST) | [5 empty] | now()
dateTime | swltimelog | Logger Time (NZST) | [5 empty] | now()
select_one ref_method_list | swlprgmeth | Primary Reference Gauge Method |  | autocomplete
decimal | swlprg | Primary Reference Gauge (m) | [9 empty] | ${swlprgmeth}='epb' or ${swlprgmeth}='esg' or ${swlprgmeth}='measurepoint'
decimal | swlprghguncert | Uncertainty (mm) | [9 empty] | ${swlprgmeth}='esg'
text | swlprgcomm | Primary Ref Gauge Reading Comment |  | multiline | [7 empty] | ${swlprgmeth}='epb' or ${swlprgmeth}='esg' or ${swlprgmeth}='measurepoint'
text | swlnoprg | Reason for No PRG Reading |  | multiline | [7 empty] | ${swlprgmeth}='noprg'
select_one yes_no_list | swlsecrefgauge | Secondary Reference Gauge?
select_one second_ref_method_list | swlsecrefmeth | Secondary Reference Gauge Method |  | autocomplete | [7 empty] | ${swlsecrefgauge}='yes'
decimal | swlsecref | Secondary Reference Gauge (m) | [9 empty] | ${swlsecrefgauge}='yes'
decimal | swlsecrefunc | Uncertainty (mm) | [9 empty] | (${swlsecrefgauge}='yes') and (${swlsecrefmeth}='sec_esg')
text | swlsecrefcomm | Secondary Ref Gauge Reading Comment |  | multiline | [7 empty] | ${swlsecrefgauge}='yes'
select_one sensor_method_list | swlprimsensormeth | Primary Sensor Method |  | autocomplete
decimal | swlprimlogger | Primary Sensor (m) | [9 empty] | ${swlprimsensormeth}='encoder' or ${swlprimsensormeth}='pt' or ${swlprimsensormeth}='radar' or ${swlprimsensormeth}='acoustic'
text | swlnosensor | Reason for No Sensor Reading |  | multiline | [7 empty] | ${swlprimsensormeth}='nosensor'
select_one additional_sensors_list | swladdsensors | Additional Sensors?
select_one sensor_method_list | swlsecsensormeth | Secondary Sensor Method |  | autocomplete | [7 empty] | ${swladdsensors}='addsensor_1' or ${swladdsensors}='addsensor_2'
decimal | swlseclogger | Secondary Sensor (m) | [9 empty] | ${swladdsensors}='addsensor_1' or ${swladdsensors}='addsensor_2'
select_one sensor_method_list | swltertsensormeth | Tertiary Sensor Method |  | autocomplete | [7 empty] | ${swladdsensors}= 'addsensor_2'
decimal | swltertlogger | Tertiary Sensor (m) | [9 empty] | ${swladdsensors}= 'addsensor_2'
note | swlsensorvar | Sensor Variance
calculate | swlprimerrorcalc | Primary Error (mm) | [6 empty] | round((${swlprg}*1000) - (${swlprimlogger}*1000),3)
note | swlprimerror | Primary Error (mm) = ${swlprimerrorcalc} | Difference between primary reference & primary sensor.
calculate | swlsecerrorcalc | Secondary Error (mm) | [6 empty] | round((${swlsecref}*1000) - (${swlprimlogger}*1000),3) |  |  | ${swlsecrefgauge}= 'yes'
note | swlsecerror | Secondary Error (mm) = ${swlsecerrorcalc} | Difference between secondary reference & primary sensor. | [8 empty] | ${swlsecrefgauge}= 'yes'
select_one yes_no_list | wtemp | Water Temperature Recorded?
decimal | wtempman | Manual Temperature (°C) | [9 empty] | ${wtemp}='yes'
decimal | wtemprec | Sensor Temperature (°C) | [9 empty] | ${wtemp}='yes'
select_one temp_probe_id_list | wtempprobeid | Temperature Probe ID |  | minimal | [7 empty] | ${wtemp}='yes'
calculate | wtempdiffcalc | Water Temp Difference (°C) | [6 empty] | round(${wtempman} - ${wtemprec},2) |  |  | ${wtemp}='yes'
note | wtempdiff | Water Temp Difference (°C) = ${wtempdiffcalc} | [9 empty] | ${wtemp}='yes'
begin repeat | swladdreadings | Additional Readings |  | compact
dateTime | swladdtime | Standard Time (NZST) | [5 empty] | now()
dateTime | swladdtimelog | Logger Time (NZST) | [5 empty] | now()
select_one ref_method_list | swladdprgmeth | Primary Reference Gauge Method |  | autocomplete
decimal | swladdprg | Primary Reference Gauge (m) | [9 empty] | ${swladdprgmeth}='epb' or ${swladdprgmeth}='esg' or ${swladdprgmeth}='measurepoint'
decimal | swladdprghguncert | Uncertainty (mm) | [9 empty] | ${swladdprgmeth}='esg'
text | swladdprgcomm | Primary Ref Gauge Reading Comment |  | multiline | [7 empty] | ${swladdprgmeth}='epb' or ${swladdprgmeth}='esg' or ${swladdprgmeth}='measurepoint'
text | swladdnoprg | Reason for No PRG Reading |  | multiline | [7 empty] | ${swladdprgmeth}='noprg'
select_one yes_no_list | swladdsecrefgauge | Secondary Reference Gauge?
select_one second_ref_method_list | swladdsecrefmeth | Secondary Reference Gauge Method |  | autocomplete | [7 empty] | ${swladdsecrefgauge}='yes'
decimal | swladdsecref | Secondary Reference Gauge (m) | [9 empty] | ${swladdsecrefgauge}='yes'
decimal | swladdsecrefunc | Uncertainty (mm) | [9 empty] | (${swladdsecrefgauge}='yes') and (${swladdsecrefmeth}='esg')
text | swladdsecrefcomm | Secondary Ref Gauge Reading Comment |  | multiline | [7 empty] | ${swladdsecrefgauge}='yes'
select_one sensor_method_list | swladdprimsensormeth | Primary Sensor Method |  | autocomplete
decimal | swladdprimlogger | Primary Sensor (m) | [9 empty] | ${swladdprimsensormeth}='encoder' or ${swladdprimsensormeth}='pt' or ${swladdprimsensormeth}='radar' or ${swladdprimsensormeth}='acoustic'
text | swladdnosensor | Reason for No Sensor Reading |  | multiline | [7 empty] | ${swladdprimsensormeth}='nosensor'
select_one additional_sensors_list | swladdaddsensors | Additional Sensors?
select_one sensor_method_list | swladdsecsensormeth | Secondary Sensor Method |  | autocomplete | [7 empty] | ${swladdaddsensors}='addsensor_1' or ${swladdaddsensors}='addsensor_2'
decimal | swladdseclogger | Secondary Sensor (m) | [9 empty] | ${swladdaddsensors}='addsensor_1' or ${swladdaddsensors}='addsensor_2'
select_one sensor_method_list | swladdtertsensormeth | Tertiary Sensor Method |  | autocomplete | [7 empty] | ${swladdaddsensors}= 'addsensor_2'
decimal | swladdtertlogger | Tertiary Sensor (m) | [9 empty] | ${swladdaddsensors}= 'addsensor_2'
note | swladdsensorvar | Sensor Variance
calculate | swladdprimerrorcalc | Primary Error (mm) | [6 empty] | round((${swladdprg}*1000) - (${swladdprimlogger}*1000),3)
note | swladdprimerror | Primary Error (mm) = ${swladdprimerrorcalc} | Difference between primary reference & primary sensor.
calculate | swladdsecerrorcalc | Secondary Error (mm) | [6 empty] | round((${swladdsecref}*1000) - (${swladdprimlogger}*1000),3) |  |  | ${swladdsecrefgauge}= 'yes'
note | swladdsecerror | Secondary Error (mm) = ${swladdsecerrorcalc} | Difference between secondary reference & primary sensor. | [8 empty] | ${swladdsecrefgauge}= 'yes'
select_one yes_no_list | wtempadd | Water Temp Recorded?
decimal | wtempaddman | Manual Temperature (°C) | [9 empty] | ${wtempadd}='yes'
decimal | wtempaddrec | Sensor Temperature (°C) | [9 empty] | ${wtempadd}='yes'
select_one temp_probe_id_list | wtempaddprobeid | Temperature Probe ID |  | minimal | [7 empty] | ${wtempadd}='yes'
calculate | wtempadddiffcalc | Water Temp Difference (°C) | [6 empty] | round(${wtempaddman} - ${wtempaddrec},2) |  |  | ${wtempadd}='yes'
note | wtempadddiff | Water Temp Difference (°C) = ${wtempdiffcalc} | [9 empty] | ${wtempadd}='yes'
end repeat
text | swlcomment | Surface Water Level Inspection Comments |  | multiline
end group
begin group | groundwl | Groundwater Level Site Visit |  | compact | [7 empty] | selected(${visittype}, 'gwl')
select_one gwl_type_list | gwlsitetype | Groundwater Level Site Type
image | gwlphotobore | Photograph of Bore(s) | Take a photograph of bore(s) including the measure point.
select_one bore_condition_list | gwlborecond | Condition of Bore(s)
begin repeat | gwlphotos | Additional Photographs |  | compact
image | gwlphoto_1 | Additional Photograph
text | gwlphotocomm | Photograph Comment |  | multiline
end repeat
dateTime | gwltime | Standard Time (NZST) | [5 empty] | now()
dateTime | gwltimelog | Logger Time (NZST) | [5 empty] | now() |  |  |  | ${gwlsitetype}='gwltype_auto'
decimal | gwlprimref | Primary Reference Gauge (m)
select_one gwl_ref_list | gwlprimrefmeth | Primary Reference Gauge Method |  | minimal
select_one yes_no_list | gwlpumpedwl | Pumped Water Level
text | gwlprimerefcomm | Primary Ref Gauge Reading Comment |  | multiline
decimal | gwllogger | Sensor Reading (m) | [9 empty] | ${gwlsitetype}='gwltype_auto'
select_one gwl_sensor_list | gwlsensormeth | Sensor Method |  | minimal | [7 empty] | ${gwlsitetype}='gwltype_auto'
text | gwlloggercomm | Sensor Reading Comment |  | multiline | [7 empty] | ${gwlsitetype}='gwltype_auto'
select_one bore_probe_id_list | gwlprobeid | Bore Probe ID |  | autocomplete | [7 empty] | ${gwlprimrefmeth}='gwlboredip'
note | gwlsensorvar | Sensor Variance | [9 empty] | ${gwlsitetype}='gwltype_auto'
calculate | gwlerrorcalc | Error (mm) | [6 empty] | round((${gwlprimref}*1000) - (${gwllogger}*1000),3) |  |  | ${gwlsitetype}='gwltype_auto'
note | gwlerror | Error (mm) = ${gwlerrorcalc} | Difference between primary reference & sensor. | [8 empty] | ${gwlsitetype}='gwltype_auto'
begin repeat | gwladdreadings | Additional Readings |  | compact
dateTime | gwladdtime | Standard Time (NZST) | [5 empty] | now()
dateTime | gwladdtimelog | Logger Time (NZST) | [5 empty] | now() |  |  |  | ${gwlsitetype}='gwltype_auto'
decimal | gwladdprimref | Primary Reference Gauge (m)
select_one gwl_ref_list | gwladdprimrefmeth | Primary Reference Gauge Method |  | minimal
select_one yes_no_list | gwlpumpedwl | Pumped Water Level
text | gwladdprimerefcomm | Primary Ref Gauge Reading Comment |  | multiline
decimal | gwladdlogger | Sensor Reading (m) | [9 empty] | ${gwlsitetype}='gwltype_auto'
select_one gwl_sensor_list | gwlsensormeth | Sensor Method |  | minimal | [7 empty] | ${gwlsitetype}='gwltype_auto'
text | gwladdloggercomm | Sensor Reading Comment |  | multiline | [7 empty] | ${gwlsitetype}='gwltype_auto'
note | gwladdsensorvar | Sensor Variance | [9 empty] | ${gwlsitetype}='gwltype_auto'
calculate | gwladderrorcalc | Error (mm) | [6 empty] | round((${gwladdprimref}*1000) - (${gwladdlogger}*1000),3) |  |  | ${gwlsitetype}='gwltype_auto'
note | gwladderror | Error (mm) = ${gwladderrorcalc} | Difference between primary reference & sensor. | [8 empty] | ${gwlsitetype}='gwltype_auto'
end repeat
text | gwlcomment | Groundwater Level Inspection Comments |  | multiline
end group
begin group | lysimeter | Lysimeter Site Visit |  | compact | [7 empty] | selected(${visittype}, 'lysim')
select_one lysim_number_list | lysimnumber | Number of Lysimeters | Select number of installed lysimeters.
dateTime | lysimtimearr | Standard Time (NZST) | [5 empty] | now()
dateTime | lysimtimearrlog | Logger Time (NZST) | [5 empty] | now()
decimal | lysiminttot1 | Sensor 1 Gauge Total (mm) | [9 empty] | selected(${lysimnumber}, 'lysim_1') or selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
text | lysiminttot1comm | Sensor 1 Gauge Reading Comment |  | multiline | [7 empty] | selected(${lysimnumber}, 'lysim_1') or selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
decimal | lysiminttot2 | Sensor 2 Gauge Total (mm) | [9 empty] | selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
text | lysiminttot2comm | Sensor 2 Gauge Reading Comment |  | multiline | [7 empty] | selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
decimal | lysiminttot3 | Sensor 3 Gauge Total (mm) | [9 empty] | selected(${lysimnumber}, 'lysim_3')
text | lysiminttot3comm | Sensor 3 Gauge Reading Comment |  | multiline | [7 empty] | selected(${lysimnumber}, 'lysim_3')
image | lysimphoto | Photograph of Gauges | Take a photograph including all gauges.
begin repeat | lysimaddphoto | Additional Photographs |  | compact
image | lysimaddphoto_1 | Additional Photograph
text | lysimaddphotocomm | Photograph Comment |  | multiline
end repeat
select_one yes_no_list | lysimgcleaned | Gauges Cleaned
select_one yes_no_list | lysimoneverified | Sensor 1 Intensity Gauge Verified | Gauge must have a undamaged, level rim. No leaks, blockages or bucket interference. | [8 empty] | selected(${lysimnumber}, 'lysim_1') or selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
select_one yes_no_list | lysimtwoverified | Sensor 2 Intensity Gauge Verified | Gauge must have a undamaged, level rim. No leaks, blockages or bucket interference. | [8 empty] | selected(${lysimnumber}, 'lysim_2') or selected(${lysimnumber}, 'lysim_3')
select_one yes_no_list | lysimthreeverified | Sensor 3 Intensity Gauge Verified | Gauge must have a undamaged, level rim. No leaks, blockages or bucket interference. | [8 empty] | selected(${lysimnumber}, 'lysim_3')
note | lysimverinfo | For specific information related to verification of rain gauges, refer to NEMs Rainfall v2.1 - Sections 3.3.1 & 3.4.1.
select_one yes_no_list | lysimlysimtotreset | Total Counts Reset in Data Logger
text | lysimcomment | Lysimeter Inspection Comments |  | multiline
select_one yes_no_list | lysimvaldone | Gauge validation(s) being carried out
begin repeat | lysimvalidation | Gauge Validation | [9 empty] | ${lysimvaldone}='yes'
note | lysimvalmethod | Volumetric Validation Method
select_one bucket_vol_list | lysimtipbucketsize | Tipping Bucket Size
select_one sensor_number_list | lysimsensornum | Sensor Number | Select which sensor is being validated. | minimal
decimal | lysimvalvol | Total Validation Volume (ml) | Volume of water used in field validation.
integer | lysimvaltotaltips | Total Validation Tips | Number of tips counted/recorded during field validation.
text | lysimvalcomment | Gauge Validation Comments |  | multiline
calculate | lysimvalresultmlcalc | Validation Result ml | [6 empty] | round(${lysimvalvol} div ${lysimvaltotaltips},2)
calculate | lysimvalresultperc5calc | Validation Result percent 0.5mm | [6 empty] | round(((15.7-${lysimvalresultmlcalc}) div 15.7)*100,2) |  |  | ${lysimtipbucketsize}='bucket_5'
calculate | lysimvalresultperc2calc | Validation Result percent 0.2mm | [6 empty] | round(((6.28-${lysimvalresultmlcalc}) div 6.28)*100,2) |  |  | ${lysimtipbucketsize}='bucket_2'
note | lysimvalresultml | Validation Result (ml) = ${lysimvalresultmlcalc}
note | lysimvalresultperc5 | Validation Result (%) = ${lysimvalresultperc5calc} | [9 empty] | ${lysimtipbucketsize}='bucket_5'
note | lysimvalresultperc2 | Validation Result (%) = ${lysimvalresultperc2calc} | [9 empty] | ${lysimtipbucketsize}='bucket_2'
note | lysimvaloutcome | Validation Outcome:
note | lysimvalpassmm5 | <font color = green> Validation Passed</font color> | [9 empty] | ${lysimtipbucketsize}='bucket_5' and ${lysimvalresultmlcalc}>=14.915 and ${lysimvalresultmlcalc}<=16.485
note | lysimvalfailmm5 | <font color = red> Validation Failed</font color> | [9 empty] | ${lysimtipbucketsize}='bucket_5' and (${lysimvalresultmlcalc}<=14.914 or ${lysimvalresultmlcalc}>=16.485)
note | lysimvalpassmm2 | <font color = green> Validation Passed</font color> | [9 empty] | ${lysimtipbucketsize}='bucket_2' and ${lysimvalresultmlcalc}>=5.966 and ${lysimvalresultmlcalc}<=6.594
note | lysimvalfailmm2 | <font color = red> Validation Failed</font color> | [9 empty] | ${lysimtipbucketsize}='bucket_2' and (${lysimvalresultmlcalc}<=5.966 or ${lysimvalresultmlcalc}>=6.594)
select_one yes_no_list | lysimvaltotreset | Total Count Reset in Data Logger
end repeat
end group
end group
begin group | gauge | Gauging Information |  | compact | [7 empty] | selected(${purpose}, 'purpose_gauge')
select_one flow_gauge_method_list | gaugeflowmeth | Flow Gauging Method |  | minimal
select_one gauging_clarity_list | gaugeclarity | Water Clarity |  | likert
text | gaugeloc | Measured Location Description |  | multiline
select_one yes_no_list | gaugeadcpclock | ADCP Clock set to NZST | [9 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation'
select_one pass_fail_list | gaugecompcal | Compass Calibration | [9 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation'
select_one pass_fail_list | gaugeselftest | System Self Test | [9 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation'
select_one channel_desc_list | gaugechandesc | Channel Description |  | minimal | [7 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation' or ${gaugeflowmeth}='methvid' or ${gaugeflowmeth}='methdilut'
select_one ft_handheld_list | fthandheldnum | FT Handheld Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methft'
select_one ft_probe_list | ftprobenum | FT Probe Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methft'
select_one tracer_list | tracertype | Tracer Type | [9 empty] | ${gaugeflowmeth}='methdilut'
select_one salt_sensor_list | saltsensornum | Salt (NaCl) Sensor Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methdilut' and ${tracertype}='salt'
select_one fludye_sensor_list | fludyesensornum | Fluorescent Dye Sensor Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methdilut' and ${tracertype}='fludye'
select_one yes_no_list | sensorsacclimatised | Sensors acclimatised prior to calibration | Sensors must be placed in body of water being gauged for at least 5 mins before calibration is carried out. | [8 empty] | ${gaugeflowmeth}='methdilut'
select_one yes_no_list | dilutcalcompleted | Calibration Completed | [9 empty] | ${gaugeflowmeth}='methdilut'
decimal | tracermixdist | Mixing Distance (m) | [9 empty] | ${gaugeflowmeth}='methdilut'
select_one current_meter_list | currmettypenum | Current Meter Type & Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methcurrmet'
select_one glogger_list | glognum | Gauging Logger Number |  | minimal | [7 empty] | ${gaugeflowmeth}='methcurrmet'
decimal | testspinpre | Test Spin - Before (secs) | [9 empty] | ${gaugeflowmeth}='methcurrmet'
select_one rod_cable_list | rodcable | Rod / Cable Used | [9 empty] | ${gaugeflowmeth}='methcurrmet'
decimal | currmetposition | Meter Position (mm) | [9 empty] | (${gaugeflowmeth}='methcurrmet') and (${rodcable}='cable')
decimal | currmetweight | Weight (kg) | [9 empty] | (${gaugeflowmeth}='methcurrmet') and (${rodcable}='cable')
decimal | cableangle | Angle of Cable (°) | [9 empty] | (${gaugeflowmeth}='methcurrmet') and (${rodcable}='cable')
select_one reel_type_list | reeltype | Type of Reel | [9 empty] | (${gaugeflowmeth}='methcurrmet') and (${rodcable}='cable')
decimal | lspivwlxsect | Water Level (m) - Camera Cross-Section | [9 empty] | ${gaugeflowmeth}='methvid'
select_one camera_method_list | camerameth | LSPIV Camera Method |  | minimal | [7 empty] | ${gaugeflowmeth}='methvid'
select_one camera_type_list | cameratype | Camera Type |  | minimal | [7 empty] | ${gaugeflowmeth}='methvid'
text | camerares | Camera Resolution | [9 empty] | ${gaugeflowmeth}='methvid'
decimal | cameraframes | Frames per second | Minimum of 15 frames per second required. | [8 empty] | ${gaugeflowmeth}='methvid'
integer | numcp | Number of Control Points (CP) | Minimum of 4 fixed CP's are required - 2 on each bank. | [8 empty] | ${gaugeflowmeth}='methvid'
select_one yes_no_list | xsectmeasured | Cross Section Measured? | [9 empty] | ${gaugeflowmeth}='methvid'
select_one xsect_method_list | xsectmethod | Cross Section Method | [9 empty] | ${xsectmeasured}='yes'
decimal | vidduration | Video Duration (sec) | Minimum video duration is 60 seconds. | [8 empty] | ${gaugeflowmeth}='methvid'
decimal | cameraangle | Camera Angle ( ° ) | Minimum angle is 15°, a high angle is recommended (ie: close to 90°). | [8 empty] | ${gaugeflowmeth}='methvid'
select_one camera_orient_list | cameraorient | Camera Orientation |  | minimal | [7 empty] | ${gaugeflowmeth}='methvid'
note | gaugepicinfo | Take relevant photographs (ie: gauging section, upstream and downstream of gauging section)
image | gaugeimage1 | Photograph of Gauging Section | Take a photograph of the section/reach being gauged. | [8 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation' or ${gaugeflowmeth}='methft' or ${gaugeflowmeth}='methcurrmet'
image | imageinjectsite | Photograph of Injection Site | [9 empty] | ${gaugeflowmeth}='methdilut'
image | imagesensorpos | Photograph of Sensor Positions | [9 empty] | ${gaugeflowmeth}='methdilut'
begin repeat | gaugeaddphoto | Additional Photographs
image | gaugeaddphoto_1 | Additional Photograph
text | gaugeaddphotocomm | Photograph Comment |  | multiline
end repeat
dateTime | gaugestime | Start Time (NZST)
decimal | gaugewlstref | Start Reference Water Level (m)
select_one yes_no_list | gaugeautobeamcheck | Automated Beam Check Passed | [9 empty] | ${gaugeflowmeth}='methft'
select_one pass_fail_list | gaugebeamcheck | Beam Check | [9 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation'
dateTime | gaugeetime | End Time (NZST)
decimal | gaugewlendref | End Reference Water Level (m)
decimal | gaugemantemp | Manual Water Temp (degC) | [9 empty] | ${gaugeflowmeth}!='methvisest'
decimal | gaugesentemp | Sensor Water Temp (degC) | [9 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation' or ${gaugeflowmeth}='methft'
calculate | gaugetempdiffcalc | Water Temp Difference (degC) | [6 empty] | round(${gaugemantemp} - ${gaugesentemp},2)
note | gaugetempdiff | Water Temp Difference (degC) = ${gaugetempdiffcalc} | Difference between manual & sensor water temperatures. | [8 empty] | ${gaugeflowmeth}='methadcpmoving' or ${gaugeflowmeth}='methadcpstation' or ${gaugeflowmeth}='methft'
decimal | gaugetotq | Total Discharge (m^3/s) | Total discharge before processing in software.
decimal | testspinpost | Test Spin - After (secs) | [9 empty] | ${gaugeflowmeth}='methcurrmet'
text | gaugecomm | Gauging Comments |  | multiline
end group
begin group | visitdepart | Site Visit Departure Time
dateTime | visitdeparttime | Site Visit Departure Time (NZST)
end group

## choices
list_name | name | label | image | label::language (xx)
location_list | site_id_1 | Site Name #1
location_list | site_id_2 | Site Name #2
location_list | site_id_3 | Site Name #3
staff_name_list | FML_1 | Staff#1_Name
staff_name_list | FML_2 | Staff#2_Name
staff_name_list | FML_3 | Staff#3_Name
weather_list | weather_clear | Clear
weather_list | weather_overcast | Overcast
weather_list | weather_rain | Rain
weather_list | weather_snow | Snow
wind_list | beau_1-3 | 1-3 = Light
wind_list | beau_4-6 | 4-6 = Mod to Strong
wind_list | beau_7-9 | 7-9 = Gale
wind_list | beau_10-12 | 10-12 = Storm
purpose_list | purpose_sitevisit | Site Inspection
purpose_list | purpose_gauge | Gauging
purpose_list | purpose_other | Other
visit_type_list | rf | Rainfall
visit_type_list | swl | Surface Water Level
visit_type_list | gwl | Groundwater Level
visit_type_list | lysim | Lysimeter
yes_no_list | yes | Yes
yes_no_list | no | No
backup_gauge_list | rgtype_backup_int | Intensity Gauge
backup_gauge_list | rgtype_backup_ref | Reference Gauge
backup_gauge_list | rgtype_backup_both | Both Intensity & Reference Gauges
bucket_vol_list | bucket_5 | 0.5 mm
bucket_vol_list | bucket_2 | 0.2 mm
swl_type_list | riverstream | River / Stream Level
swl_type_list | lakelevel | Lake Level
swl_type_list | tidal | Tide Height
ref_method_list | epb | Electric Plumb Bob (EPB)
ref_method_list | esg | External Staff Gauge (ESG)
ref_method_list | measurepoint | Measure Point
ref_method_list | noprg | No Primary Reference Gauge
second_ref_method_list | sec_epb | Electric Plumb Bob (EPB)
second_ref_method_list | sec_esg | External Staff Gauge (ESG)
second_ref_method_list | sec_measurepoint | Measure Point
sensor_method_list | encoder | Encoder
sensor_method_list | pt | Pressure Transducer
sensor_method_list | radar | Radar
sensor_method_list | acoustic | Acoustic
sensor_method_list | nosensor | No Sensor Reading
additional_sensors_list | addsensor_1 | One
additional_sensors_list | addsensor_2 | Two
temp_probe_id_list | tempprobe_1 | Temp Probe #1
temp_probe_id_list | tempprobe_2 | Temp Probe #2
temp_probe_id_list | tempprobe_3 | Temp Probe #3
gwl_type_list | gwltype_auto | Automatic
gwl_type_list | gwltype_man | Manual
bore_condition_list | goodcond | Good Condition
bore_condition_list | poorcond | Poor Condition - Needs Maintenance
gwl_ref_list | gwl_boredip | Bore Dip
gwl_ref_list | gwl_epb | Electric Plumb Bob (EPB)
gwl_sensor_list | gwl_pt | Pressure Transducer
gwl_sensor_list | gwl_laser | Laser
gwl_sensor_list | gwl_pressuregauge | Pressure Gauge
bore_probe_id_list | boreprobe_1 | Bore Probe #1
bore_probe_id_list | boreprobe_2 | Bore Probe #2
bore_probe_id_list | boreprobe_3 | Bore Probe #3
lysim_number_list | lysim_1 | One
lysim_number_list | lysim_2 | Two
lysim_number_list | lysim_3 | Three
sensor_number_list | sensor_1 | Sensor 1
sensor_number_list | sensor_2 | Sensor 2
sensor_number_list | sensor_3 | Sensor 3
flow_gauge_method_list | meth_adcpmoving | ADCP - Moving Boat
flow_gauge_method_list | meth_adcpstationary | ADCP - Stationary
flow_gauge_method_list | meth_ft | FlowTracker
flow_gauge_method_list | meth_currentmeter | Mechanical Current Meter
flow_gauge_method_list | meth_dilution | Dilution
flow_gauge_method_list | meth_surfaceradar | Surface Radar
flow_gauge_method_list | meth_video | LSPIV - Video/Image
flow_gauge_method_list | meth_visualestimate | Visual Estimate
flow_gauge_method_list | meth_other | Other
gauging_clarity_list | clarity_turbid | Turbid
gauging_clarity_list | clarity_discoloured | Discoloured
gauging_clarity_list | clarity_clear | Clear
pass_fail_list | pass | Pass
pass_fail_list | fail | Fail
channel_desc_list | channel_uniform | Uniform / laminar flow, no large bed debris or vegetation.
channel_desc_list | channel_nonuniform | Non-uniform flow, some bed debris/vegetationcausing disturbance.
channel_desc_list | channel_turbulent | Bed debris and vegetation disturbing flow and bed profile, turbulent flow and aeration of water.
ft_handheld_list | ft_hand_1 | FT Handheld #1
ft_handheld_list | ft_hand_2 | FT Handheld #2
ft_handheld_list | ft_hand_3 | FT Handheld #3
ft_probe_list | ft_probe_1 | FT Probe #1
ft_probe_list | ft_probe_2 | FT Probe #2
ft_probe_list | ft_probe_3 | FT Probe #3
tracer_list | salt | Salt (NaCl)
tracer_list | fludye | Fluorescent Dye
salt_sensor_list | salt_sensor_1 | Salt Sensor #1
salt_sensor_list | salt_sensor_2 | Salt Sensor #2
fludye_sensor_list | fludye_sensor_1 | Fluorescent Dye Sensor #1
fludye_sensor_list | fludye_sensor_2 | Fluorescent Dye Sensor #2
current_meter_list | current_meter_1 | Current Meter #1
current_meter_list | current_meter_2 | Current Meter #2
current_meter_list | current_meter_3 | Current Meter #3
glogger_list | glog_1 | glog #1
glogger_list | glog_2 | glog #2
rod_cable_list | rod | Rod
rod_cable_list | cable | Cable
reel_type_list | single | Single Layer
reel_type_list | double | Double Layer
camera_method_list | camera_fixed | Fixed
camera_method_list | camera_drone | Drone
camera_type_list | camera_type1 | Fixed Camera Type 1
camera_type_list | camera_type2 | Fixed Camera Type 2
camera_type_list | camera_type3 | Drone
xsect_method_list | xsect_method_1 | Survey
xsect_method_list | xsect_method_2 | ADCP
xsect_method_list | xsect_method_3 | Tape / Weight
camera_orient_list | camera_orient_above | Above stream looking down
camera_orient_list | camera_orient_ds | Looking downstream
camera_orient_list | camera_orient_us | Looking upstream
camera_orient_list | camera_orient_across | Across Stream

## settings
form_title | form_id | instance_name | submission_url | default_language | version | style | allow_choice_duplicates
Enviro Monitoring Data Collection |  | concat (${location}, " Date: ", format-date(${visitdatetime},'%Y-%m-%d')) |  |  |  |  | yes

## Version
ArcGIS Survey123 XLSForm Template – Advanced
Template version: | 3.11
Revision date: | 2020-09-22
This Advanced template includes all XLSForm features supported in ArcGIS Survey123. Please refer to the Question types and Appearances sheets for field app and web app compatibility.
Specific Form Information
Red fields = Mandatory fields
Yellow fields = Optional, but beneficial fields
Blue fields = Fields to allow for form formatting (ie: will hide or show groups/fields)
Grey fields = Group/Section fields
NB: For Hilltop integration purposes, rows 3, 4 and 6 must be contained within the form using the exact same 'type' and 'name' entries.

## Question types
Question type | Description | Field app | Web app
text | Free text response. | Yes | Yes
integer | Integer (i.e. whole number) input. | Yes | Yes
decimal | Decimal input. | Yes | Yes
date | Date input. | Yes | Yes
time | Time input. | Yes | Yes
dateTime | Date and time input. | Yes | Yes
select_one list_name | Multiple choice question; only one answer can be selected. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
select_multiple list_name | Multiple choice question; multiple answers can be selected. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
rank list_name | Ranking question; order a list of choices. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
range | Input for a given range of numbers. | Yes | No
note | Display a note on the form. Takes no input. | Yes | Yes
geopoint | Collect a point on a map. | Yes | Yes
geotrace | Collect a line on a map. | Yes | Yes
geoshape | Collect a polygon on a map. | Yes | Yes
image | Take a picture. | Yes | Yes
audio | Record an audio sample. | Yes | No
file | Attach a file. | Yes | Yes
barcode | Scan a barcode or a QR code. | Yes | No
begin group | Begin a group of questions. | Yes | Yes
end group | End a group of questions. | Yes | Yes
begin repeat | Begin a set of repeating questions. | Yes | Yes
end repeat | End a set of repeating questions. | Yes | Yes
calculate | Perform a calculation on values in the form. The calculate field will contain the outcome of the calculation. This is a hidden field, not visible on the form. | Yes | Yes
hidden | Create a field in the feature layer that will not be displayed on the form. Use the bind::esri:fieldType and bind::esri:fieldLength columns to specify the data schema for this field. | Yes | Yes
username | When signed in to an ArcGIS organization, this field is automatically populated with the account username. This is a hidden field, not visible on the form. | Yes | Yes
email | When signed in to an ArcGIS organization, this field is automatically populated with the account email address. This is a hidden field, not visible on the form. | Yes | Yes
start | Start date and time of the survey. This is a hidden field, not visible on the form. | Yes | Yes
end | End date and time of the survey. This is a hidden field, not visible on the form. | Yes | Yes
deviceid | UUID representing the specific device they survey was taken on. This is a hidden field, not visible on the form. | Yes | No

## Appearances
Appearance | Applies to | Description | Field app | Web app
minimal | select_one, select_multiple, barcode, begin repeat | Presents answers in a more space-efficient manner. | Yes | Yes
horizontal | select_one, select_multiple | Displays choices horizontally in columns of equal width. | Yes | Yes
horizontal-compact | select_one, select_multiple | Displays choices horizontally in a space-efficient manner in the web app. In the field app this appearance is identical to the 'horizontal' appearance. | No | Yes
image-map | select_one, select_multiple | Displays an attached SVG image with selectable regions. | Yes | No
autocomplete | select_one | Presents choices in a drop-down menu, with text input to narrow down options. | Yes | Yes
likert | select_one | Presents choices as a Likert scale. | Yes | Yes
multiline | text, image, file | Presents a text question as a multiline text box. Allows multiple attachments for an image or file question. | Yes | Yes
predictivetext | text | Enables predictive text for mobile devices. | Yes | No
nopredictivetext | text | Disables predictive text for mobile devices. | Yes | No
month-year | date | Select a month and year only for the date. | Yes | Yes
year | date | Select only a year for the date. | Yes | Yes
week-number | date | Select a week number. | Yes | No
distress | integer | Displays a 10-point distress scale. | Yes | No
thousands-sep | decimal | Displays answers with thousands separators. | Yes | No
calculator | integer, decimal | Displays a calculator widget. | Yes | No
numbers | integer, decimal | Displays a keypad widget. | Yes | No
spinner | integer, decimal | Displays buttons to increase and decrease value. | Yes | No
no-ticks | range | Displays the range slider without positions, minimum values, or maximum values. | Yes | No
signature | image | Presents a UI for signature capture. The signature will be added to the feature as an image attachment. | Yes | Yes
draw | image | Allows user to open a canvas to sketch on. | Yes | Yes
annotate | image | Allows user to open a canvas to sketch on. Also supports annotation on an image or map. | Yes | Yes
hidden | All question types | Hides a question so that it is not displayed on the form. Any value stored in the question will be submitted. | Yes | Yes
compact | begin group, begin repeat | Group of questions will appear collapsed on start-up. | Yes | Yes
minimal compact | begin repeat | Group of questions is displayed both collapsed and hidden. | Yes | Yes
field-list | begin group, begin repeat | Applies to groups and repeats, when style is set to 'pages'. Displays group of questions on a separate page. | Yes | Yes
table-list | begin group | Displays select_one questions with the same choice list inside the group in a table format. | Yes | Yes
hide-input | geopoint | Collapses the coordinate entry section of the map in the Survey123 web app. | No | Yes
spike | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance and location in a photo. | Yes | No
spike-full-measure | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance, location, area and lengths in a photo. | Yes | No
spike-point-to-point | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance between two photographed points. | Yes | No

## Field types
Esri field types | Control the field type for a question in the bind::esri:fieldType column. | Learn more
esriFieldTypeDate | Date
esriFieldTypeSingle | Single-precision floating point numbers
esriFieldTypeDouble | Double-precision floating point numbers
esriFieldTypeInteger | Whole numbers
esriFieldTypeSmallInteger | Small whole numbers (from -32,768 to 32,767)
esriFieldTypeString | A series of alphanumeric symbols
esriFieldTypePointZ | Adds Z axis support to geopoint question
esriFieldTypeGUID | Globally Unique Identifier
null | Does not require field in feature layer
Bind types | Use in the bind::type column to overwrite default field type during a survey. | Learn more
int | Single-precision floating point numbers
decimal | Double-precision floating point numbers
string | A series of alphanumeric symbols
time | Time value
dateTime | Date and time value
date | Date value

## Reference
Default values |  | Learn more
today() | Applies to date questions. Set the default to today's date, at local midday.
now() | Applies to time and dateTime questions. Set the default to the current date and time.
item1,item2,item3 | Use a comma separated list to set default values for select_multiple fields.
Cascading selects | Create additional attribute columns for your pick lists in the choices tab. | Learn more
choice_filter | Add an expression to the 'choice_filter' column to restrict subsequent pick lists using these attributes.
Formula operators | These operators can be used in constraint, relevant and calculation fields. | Learn more
Operator | Description | Example
+ | Addition | ${question_one} + 4
- | Subtraction | ${question_one} - 4
* | Multiplication | ${question_one} * 4
div | Division | ${question_one} div 4
= | Equal | ${price}=9.80
!= | Not equal | ${price}!=9.80
< | Less than | ${price}<9.80
<= | Less than or equal to | ${price}<=9.80
> | Greater than | ${price}>9.80
>= | Greater than or equal to | ${price}>=9.80
or | or | ${price}=9.80 or ${price}=9.70
and | and | ${price}>9.00 and ${price}<9.90
mod | Modulus (division remainder) | ${question_one} mod ${question_two}
HTML formatting | Use HTML formatting in labels, hints and note questions. | Learn more
Format Type | Example
Font color | <font color="red">Text in red </font>
Hyperlink | <a href="http://www.esri.com">Link to esri web site</a>
Bold | <b>This text is bold</b>
Italics | <i>This text is in italics</i>
Heading 1 | <H1>Header 1</H>
Heading 2 | <H2>Header 2</H>
Paragraph | <p>This is a paragraph.</p>
Center | <center>This text is centered</center>
Blockquote | <blockquote>Blockquote (indented)</blockquote>
Underlined | One word is <u>underlined</u>
Typewrite | One word is <tt>typewrite</tt> font
Strikethrough | One word is <s>strikethrough</s> font
Unordered list | <ul>To frame an unordered list,</ul> <li>and for individual points</li>
Telephone number | <a href="tel:555-555-5555">555-555-5555</a>
Email address | <a mailto="someone@somewhere.com">someone@somewhere.com</a>
Regular expressions |  | Learn more
Subexpression | Matches
^ | Matches beginning of line.
$ | Matches end of line.
. | Matches any single character except newline. Using m option allows it to match newline as well.
[...] | Matches any single character in brackets.
[^...] | Matches any single character not in brackets
\A | Beginning of entire string
\z | End of entire string
\Z | End of entire string except allowable final line terminator.
re* | Matches 0 or more occurrences of preceding expression.
re+ | Matches 1 or more of the previous thing
re? | Matches 0 or 1 occurrence of preceding expression.
re{ n} | Matches exactly n number of occurrences of preceding expression.
re{ n,} | Matches n or more occurrences of preceding expression.
re{ n, m} | Matches at least n and at most m occurrences of preceding expression.
a¦ b | Matches either a or b.
(re) | Groups regular expressions and remembers matched text.
(?: re) | Groups regular expressions without remembering matched text.
(?> re) | Matches independent pattern without backtracking.
\w | Matches word characters.
\W | Matches nonword characters.
\s | Matches whitespace. Equivalent to [\t\n\r\f].
\S | Matches nonwhitespace.
\d | Matches digits. Equivalent to [0-9].
\D | Matches nondigits.
\A | Matches beginning of string.
\Z | Matches end of string. If a newline exists, it matches just before newline.
\z | Matches end of string.
\G | Matches point where last match finished.
\n | Back-reference to capture group number "n"
\b | Matches word boundaries when outside brackets. Matches backspace (0x08) when inside brackets.
\B | Matches nonword boundaries.
\n, \t, etc. | Matches newlines, carriage returns, tabs, etc.
\Q | Escape (quote) all characters up to \E
\E | Ends quoting begun with \Q
Mathematical functions |  | Learn more
Operator | Function
pi() | Returns pi.
acos(value) | Returns the arccosine of the value.
asin(value) | Returns the arcsine of the value.
atan(value) | Returns the arctangent of the value.
cos(value) | Returns the cosine of the value
sin(value) | Returns the sine of the value.
tan(value) | Returns the tangent of the value as degrees in an angle.
exp(value) | Returns the natural exponent of the value.
exp10(value) | Returns ten to the power of the value.
log(value) | Returns the natural logarithm of the value.
log10(value) | Returns the base-ten logarithm of the value.
sqrt(value) | Returns the square root of the value.
min(value1,value2) | Returns the minimum value in the given range.
max(value1,value2) | Returns the maximum value in the given range.
random | Returns a random value between 0 (inclusive) and 1 (exclusive).
atan2(value1,value2) | Returns the arctangent of the quotient of the values.
round(value1,value2) | Returns the rounded value.
pow(value,power) | Returns the value to the power specified.
Special characters | The following characters can't be used in the name of a question, or in the name of a choice list. | Learn more
Space
, | Comma
; | Semicolon
- | Hyphen
/ | Forward slash
$ | Dollar sign
. | Dot
( | Open parentheses
) | Close parentheses

## Reserved
Reserved keywords | The following database keywords cannot be used as the name of a question.
A
ABS
ABSENT
ACCESS
ACCORDING
ACCOUNT
ACTIVATE
ADA
ADD
ADMIN
ADVISE
AFTER
ALL
ALL_ROWS
ALLOCATE
ALLOW
ALTER
ANALYSE
ANALYZE
AND
ANY
ARCHIVE
ARCHIVELOG
ARE
ARRAY
ARRAY_AGG
ARRAY_MAX_CARDINALITY
AS
ASC
ASENSITIVE
ASSOCIATE
ASUTIME
ASYMMETRIC
AT
ATOMIC
ATTRIBUTES
AUDIT
AUTHENTICATED
AUTHORIZATION
AUTOEXTEND
AUTOMATIC
AUX
AUXILIARY
AVG
BACKUP
BASE64
BECOME
BEFORE
BEGIN
BEGIN_FRAME
BEGIN_PARTITION
BERNOULLI
BETWEEN
BFILE
BINARY
BIT_LENGTH
BITMAP
BLOB
BLOCK
BLOCKED
BODY
BOM
BOTH
BREADTH
BREAK
BROWSE
BUFFERPOOL
BULK
BY
C
CACHE
CACHE_INSTANCES
CALL
CANCEL
CAPTURE
CARDINALITY
CASCADE
CASCADED
CASE
CAST
CATALOG_NAME
CCSID
CEIL
CEILING
CFILE
CHAINED
CHANGE
CHAR
CHAR_CS
CHAR_LENGTH
CHARACTER
CHARACTER_LENGTH
CHARACTER_SET_CATALOG
CHARACTER_SET_NAME
CHARACTER_SET_SCHEMA
CHARACTERS
CHECK
CHECKPOINT
CHOOSE
CHUNK
CLASS_ORIGIN
CLEAR
CLOB
CLONE
CLOSE
CLOSE_CACHED_OPEN_CURSORS
CLUSTER
CLUSTERED
COALESCE
COBOL
COLLATE
COLLATION
COLLATION_CATALOG
COLLATION_NAME
COLLATION_SCHEMA
COLLECT
COLLECTION
COLLID
COLUMN
COLUMN_NAME
COLUMNS
COMMAND_FUNCTION
COMMAND_FUNCTION_CODE
COMMENT
COMMIT
COMMITTED
COMPATIBILITY
COMPILE
COMPLETE
COMPOSITE_LIMIT
COMPRESS
COMPUTE
CONCAT
CONCURRENTLY
CONDITION
CONDITION_NUMBER
CONNECT
CONNECT_TIME
CONNECTION
CONNECTION_NAME
CONSTRAINT
CONSTRAINT_CATALOG
CONSTRAINT_NAME
CONSTRAINT_SCHEMA
CONSTRAINTS
CONSTRUCTOR
CONTAINS
CONTAINSTABLE
CONTENT
CONTENTS
CONTINUE
CONTROL
CONTROLFILE
CONVERT
CORR
CORRESPONDING
COST
COUNT
COVAR_POP
COVAR_SAMP
CPU_PER_CALL
CPU_PER_SESSION
CREATE
CREATIONDATE
CREATOR
CROSS
CUBE
CUME_DIST
CURREN_USER
CURRENT
CURRENT_CATALOG
CURRENT_CONNECTION
CURRENT_DATE
CURRENT_DEFAULT_TRANSFORM_GROUP
CURRENT_LC_CTYPE
CURRENT_PATH
CURRENT_ROLE
CURRENT_ROW
CURRENT_SCHEMA
CURRENT_TIME
CURRENT_TIMESTAMP
CURRENT_TRANSFORM_GROUP_FOR_TYPE
CURRENT_USER
CURRENT_UTCDATE
CURRENT_UTCTIME
CURRENT_UTCTIMESTAMP
CURRVAL
CURSOR
CURSOR_NAME
CYCLE
DANGLING
DATA
DATABASE
DATAFILE
DATAFILES
DATALINK
DATAOBJNO
DATE
DATETIME_INTERVAL_CODE
DATETIME_INTERVAL_PRECISION
DAY
DAYS
DB
DBA
DBCC
DBHIGH
DBINFO
DBLOW
DBMAC
DEALLOCATE
DEBUG
DEC
DECIMAL
DECLARE
DEFAULT
DEFERRABLE
DEFERRED
DEFINED
DEGREE
DELETE
DENSE_RANK
DENY
DEPTH
DEREF
DERIVED
DESC
DESCRIBE
DESCRIPTOR
DETERMINISTIC
DIAGNOSTICS
DIRECTORY
DISABLE
DISALLOW
DISCONNECT
DISK
DISMOUNT
DISPATCH
DISTINCT
DISTRIBUTED
DLNEWCOPY
DLPREVIOUSCOPY
DLURLCOMPLETE
DLURLCOMPLETEONLY
DLURLCOMPLETEWRITE
DLURLPATH
DLURLPATHONLY
DLURLPATHWRITE
DLURLSCHEME
DLURLSERVER
DLVALUE
DML
DO
DOCUMENT
DOUBLE
DROP
DSSIZE
DUMP
DYNAMIC
DYNAMIC_FUNCTION
DYNAMIC_FUNCTION_CODE
EACH
EDITDATE
EDITOR
EDITPROC
ELEMENT
ELSE
ELSEIF
ELSIF
EMPTY
ENABLE
ENCODING
ENCRYPTION
END
END_FRAME
END_PARTITION
END-EXEC
ENDING
ENFORCE
ENFORCED
ENTITY
ENTRY
EQUALS
ERASE
ERRLVL
ESCAPE
EVERY
EXCEPT
EXCEPTION
EXCEPTIONS
EXCHANGE
EXCLUDING
EXCLUSIVE
EXEC
EXECUTE
EXISTS
EXIT
EXP
EXPIRE
EXPLAIN
EXPRESSION
EXTENT
EXTENTS
EXTERNAL
EXTERNALLY
FAILED_LOGIN_ATTEMPTS
FALSE
FAST
FENCED
FETCH
FIELDPROC
FILE
FILLFACTOR
FILTER
FINAL
FIRST
FIRST_ROWS
FIRST_VALUE
FLAG
FLAGGER
FLOAT
FLOB
FLOOR
FLUSH
FOR
FORCE
FOREIGN
FORTRAN
FOUND
FRAME_ROW
FREE
FREELIST
FREELISTS
FREETEXT
FREETEXTTABLE
FREEZE
FROM
FS
FULL
FUNCTION
FUSION
G
GENERAL
GENERATED
GET
GLOBAL
GLOBAL_NAME
GLOBALID
GLOBALLY
GO
GOTO
GRANT
GROUP
GROUPING
GROUPS
HANDLER
HASH
HASHKEYS
HAVING
HEADER
HEAP
HEX
HIERARCHY
HOLD
HOLDLOCK
HOUR
HOURS
ID
IDENTIFIED
IDENTITY
IDENTITY_INSERT
IDENTITYCOL
IDGENERATORS
IDLE_TIME
IF
IGNORE
ILIKE
IMMEDIATE
IMMEDIATELY
IMPLEMENTATION
IMPORT
IN
INCLUDING
INCLUSIVE
INCREMENT
IND_PARTITION
INDENT
INDEX
INDEXED
INDEXES
INDICATOR
INHERIT
INITIAL
INITIALLY
INITRANS
INNER
INOUT
INSENSITIVE
INSERT
INSTANCE
INSTANCES
INSTANTIABLE
INSTEAD
INT
INTEGER
INTEGRITY
INTERMEDIATE
INTERSECT
INTERSECTION
INTO
IS
ISNULL
ISOBID
ISOLATION
ISOLATION_LEVEL
ITERATE
JAR
JOIN
K
KEEP
KEY
KEY_MEMBER
KEY_TYPE
KILL
LABEL
LAG
LANGUAGE
LAST
LAST_VALUE
LATERAL
LAYER
LC_CTYPE
LEAD
LEADING
LEAVE
LEFT
LENGTH
LESS
LEVEL
LIBRARY
LIKE
LIKE_REGEX
LIMIT
LINENO
LINK
LIST
LN
LOAD
LOB
LOCAL
LOCALE
LOCALTIME
LOCALTIMESTAMP
LOCATOR
LOCATORS
LOCK
LOCKED
LOCKMAX
LOCKSIZE
LOG
LOGFILE
LOGGING
LOGICAL_READS_PER_CALL
LOGICAL_READS_PER_SESSION
LONG
LOOP
LOWER
M
MAINTAINED
MANAGE
MAP
MASTER
MATCHED
MATERIALIZED
MAX
MAX_CARDINALITY
MAXARCHLOGS
MAXDATAFILES
MAXEXTENTS
MAXINSTANCES
MAXLOGFILES
MAXLOGHISTORY
MAXLOGMEMBERS
MAXSIZE
MAXTRANS
MAXVALUE
MEMBER
MERGE
MESSAGE_LENGTH
MESSAGE_OCTET_LENGTH
MESSAGE_TEXT
METHOD
MICROSECOND
MICROSECONDS
MIN
MINEXTENTS
MINIMUM
MINUS
MINUTE
MINUTES
MINVALUE
MLS_LABEL_FORMAT
MLSLABEL
MOD
MODE
MODIFIES
MODIFY
MODULE
MONTH
MONTHS
MORE
MOUNT
MOVE
MTS_DISPATCHERS
MULTISET
MUMPS
NAMESPACE
NATIONAL
NATURAL
NCHAR
NCHAR_CS
NCLOB
NEEDED
NESTED
NESTING
NETWORK
NEW
NEXT
NEXTVAL
NFC
NFD
NFKC
NFKD
NIL
NO
NOARCHIVELOG
NOAUDIT
NOCACHE
NOCHECK
NOCOMPRESS
NOCYCLE
NOFORCE
NOLOGGING
NOMAXVALUE
NOMINVALUE
NONCLUSTERED
NONE
NOORDER
NOOVERRIDE
NOPARALLEL
NOREVERSE
NORMAL
NORMALIZE
NORMALIZED
NOSORT
NOT
NOTHING
NOTNULL
NOWAIT
NTH_VALUE
NTILE
NULL
NULLABLE
NULLIF
NULLS
NUMBER
NUMERIC
NUMPARTS
NVARCHAR2
OBID
OBJECT
OBJECTID
OBJNO
OBJNO_REUSE
OCCURRENCES_REGEX
OCTET_LENGTH
OCTETS
OF
OFF
OFFLINE
OFFSET
OFFSETS
OID
OIDINDEX
OLD
ON
ONLINE
ONLY
OPCODE
OPEN
OPENDATASOURCE
OPENQUERY
OPENROWSET
OPENXML
OPTIMAL
OPTIMIZATION
OPTIMIZE
OPTIMIZER_GOAL
OPTION
OR
ORDER
ORDERING
ORDINALITY
ORGANIZATION
OSLABEL
OTHERS
OUT
OUTER
OUTPUT
OVER
OVERFLOW
OVERLAPS
OVERRIDING
OWN
P
PACKAGE
PAD
PADDED
PARALLEL
PARAMETER
PARAMETER_MODE
PARAMETER_NAME
PARAMETER_ORDINAL_POSITION
PARAMETER_SPECIFIC_CATALOG
PARAMETER_SPECIFIC_NAME
PARAMETER_SPECIFIC_SCHEMA
PART
PARTITION
PARTITIONED
PARTITIONING
PASCAL
PASSTHROUGH
PASSWORD
PASSWORD_GRACE_TIME
PASSWORD_LIFE_TIME
PASSWORD_LOCK_TIME
PASSWORD_REUSE_MAX
PASSWORD_REUSE_TIME
PASSWORD_VERIFY_FUNCTION
PATH
PCTFREE
PCTINCREASE
PCTTHRESHOLD
PCTUSED
PCTVERSION
PERCENT
PERCENT_RANK
PERCENTILE_CONT
PERCENTILE_DISC
PERIOD
PERMANENT
PERMISSION
PIECESIZE
PIVOT
PLACING
PLAN
PLI
PLSQL_DEBUG
PORTION
POSITION_REGEX
POST_TRANSACTION
POWER
PRECEDES
PRECISION
PREPARE
PRESERVE
PREVVAL
PRIMARY
PRINT
PRIOR
PRIQTY
PRIVATE
PRIVATE_SGA
PRIVILEGE
PRIVILEGES
PROC
PROCEDURE
PROFILE
PROGRAM
PSID
PUBLIC
PURGE
QUERY
QUERYNO
QUEUE
QUOTA
RAISERROR
RANGE
RANK
RAW
RBA
READ
READS
READTEXT
READUP
REAL
REBUILD
RECONFIGURE
RECOVER
RECOVERABLE
RECOVERY
REF
REFERENCES
REFERENCING
REFRESH
REGR_AVGX
REGR_AVGY
REGR_COUNT
REGR_INTERCEPT
REGR_R2
REGR_SLOPE
REGR_SXX
REGR_SXY
REGR_SYY
RELEASE
RENAME
REPEAT
REPLACE
REPLICATION
REQUIRING
RESET
RESETLOGS
RESIGNAL
RESIZE
RESOURCE
RESPECT
RESTORE
RESTRICT
RESTRICTED
RESULT
RESULT_SET_LOCATOR
RETURN
RETURNED_CARDINALITY
RETURNED_LENGTH
RETURNED_OCTET_LENGTH
RETURNED_SQLSTATE
RETURNING
RETURNS
REUSE
REVERSE
REVERT
REVOKE
RIGHT
ROLE
ROLES
ROLLBACK
ROLLUP
ROUND_CEILING
ROUND_DOWN
ROUND_FLOOR
ROUND_HALF_DOWN
ROUND_HALF_EVEN
ROUND_HALF_UP
ROUND_UP
ROUTINE
ROUTINE_CATALOG
ROUTINE_NAME
ROUTINE_SCHEMA
ROW
ROW_COUNT
ROW_NUMBER
ROWCOUNT
ROWGUIDCOL
ROWID
ROWNUM
ROWS
ROWSET
RULE
RUN
SAMPLE
SAVE
SAVEPOINT
SB4
SCALE
SCAN_INSTANCES
SCHEMA
SCHEMA_NAME
SCN
SCOPE
SCOPE_CATALOG
SCOPE_NAME
SCOPE_SCHEMA
SCRATCHPAD
SD_ALL
SD_INHIBIT
SD_SHOW
SECOND
SECONDS
SECQTY
SECTION
SECURITY
SECURITYAUDIT
SEG_BLOCK
SEG_FILE
SEGMENT
SELECT
SELECTIVE
SELF
SEMANTICKEYPHRASETABLE
SEMANTICSIMILARITYDETAILSTABLE
SEMANTICSIMILARITYTABLE
SENSITIVE
SEQUENCE
SERIALIZABLE
SERVER_NAME
SESSION
SESSION_CACHED_CURSORS
SESSION_USER
SESSIONS_PER_USER
SET
SETS
SETUSER
SHAPE
SHARE
SHARED
SHARED_POOL
SHRINK
SHUTDOWN
SIGNAL
SIMILAR
SIMPLE
SIZE
SKIP
SKIP_UNUSABLE_INDEXES
SMALLINT
SNAPSHOT
SOME
SORT
SOURCE
SPACE
SPECIFIC
SPECIFIC_NAME
SPECIFICATION
SPECIFICTYPE
SPLIT
SQL
SQL_TRACE
SQLCODE
SQLERROR
SQLEXCEPTION
SQLSTATE
SQLWARNING
SQRT
STANDARD
STANDBY
START
STATE
STATEMENT
STATEMENT_ID
STATIC
STATISTICS
STAY
STDDEV_POP
STDDEV_SAMP
STOGROUP
STOP
STORAGE
STORE
STORES
STRUCTURE
STYLE
SUBCLASS_ORIGIN
SUBMULTISET
SUBSTRING_REGEX
SUCCEEDS
SUCCESSFUL
SUM
SUMMARY
SWITCH
SYMMETRIC
SYNONYM
SYS_OP_ENFORCE_NOT_NULL$
SYS_OP_NTCIMG$
SYSDATE
SYSDBA
SYSOPER
SYSTEM
SYSTEM_TIME
SYSTEM_USER
SYSTIME
SYSTIMESTAMP
SYSUUID
T
TABLE
TABLE_NAME
TABLES
TABLESAMPLE
TABLESPACE
TABLESPACE_NO
TABNO
TEMPORARY
TEXTSIZE
THAN
THE
THEN
THREAD
TIES
TIME
TIMESTAMP
TIMEZONE_HOUR
TIMEZONE_MINUTE
TO
TOKEN
TOP
TOP_LEVEL_COUNT
TOPLEVEL
TRACE
TRACING
TRAILING
TRAN
TRANSACTION
TRANSACTION_ACTIVE
TRANSACTIONS_COMMITTED
TRANSACTIONS_ROLLED_BACK
TRANSFORM
TRANSFORMS
TRANSITIONAL
TRANSLATE
TRANSLATE_REGEX
TRANSLATION
TRIGGER
TRIGGER_CATALOG
TRIGGER_NAME
TRIGGER_SCHEMA
TRIGGERS
TRIM_ARRAY
TRUE
TRUNCATE
TRY_CONVERT
TSEQUAL
TX
TYPE
UB2
UBA
UESCAPE
UID
UNARCHIVED
UNDER
UNDO
UNION
UNIQUE
UNLIMITED
UNLINK
UNLOCK
UNNAMED
UNNEST
UNPIVOT
UNRECOVERABLE
UNTIL
UNTYPED
UNUSABLE
UNUSED
UPDATABLE
UPDATE
UPDATETEXT
UPPER
URI
USAGE
USE
USER
USER_DEFINED_TYPE_CATALOG
USER_DEFINED_TYPE_CODE
USER_DEFINED_TYPE_NAME
USER_DEFINED_TYPE_SCHEMA
USING
UTCDATE
UTCTIME
UTCTIMESTAMP
VALIDATE
VALIDATION
VALIDPROC
VALUE
VALUE_OF
VALUES
VAR_POP
VAR_SAMP
VARBINARY
VARCHAR
VARCHAR2
VARIABLE
VARIADIC
VARIANT
VARYING
VCAT
VERBOSE
VERSIONING
VIEW
VOLATILE
VOLUMES
WAITFOR
WHEN
WHENEVER
WHERE
WHILE
WIDTH_BUCKET
WINDOW
WITH
WITHIN
WITHIN GROUP
WITHOUT
WLM
WORK
WRITE
WRITEDOWN
WRITETEXT
WRITEUP
XID
XMLAGG
XMLBINARY
XMLCAST
XMLCOMMENT
XMLDECLARATION
XMLDOCUMENT
XMLEXISTS
XMLITERATE
XMLNAMESPACES
XMLQUERY
XMLSCHEMA
XMLTABLE
XMLTEXT
XMLVALIDATE
YEAR
YEARS
ZONE